## Attribute_Description
Attribute | Recommended Data Type | Units | Description | Commentary
Member mark
RBR-Project_ID | Text |  | See Member Mark section | See codification tables - RBEE-RBE-MAN-BIM-00005 (Codification & Data Management)
RBR-Section_ID | Text |  | See Member Mark section | See codification tables - RBEE-RBE-MAN-BIM-00005 (Codification & Data Management)
RBR-SubSection_ID | Text |  | See Member Mark section | See codification tables - RBEE-RBE-MAN-BIM-00005 (Codification & Data Management)
RBR-Owner | Text |  | Final owner (eg Estonian road department (Transpordiamet /TA) ) | See codification tables - RBEE-RBE-MAN-BIM-00005 (Codification & Data Management)
RBR-Originator | Text |  | See Member Mark section | See codification tables - RBEE-RBE-MAN-BIM-00005 (Codification & Data Management)
RBR-Discipline_Code | Text |  | See Member Mark section | See codification tables - RBEE-RBE-MAN-BIM-00005 (Codification & Data Management)
RBR-VolSysZone | Text |  | See Member Mark section | See codification tables - RBEE-RBE-MAN-BIM-00005 (Codification & Data Management)
RBR-Location | Text |  | See Member Mark section | See codification tables - RBEE-RBE-MAN-BIM-00005 (Codification & Data Management)
RBR-Functional_classification | Text |  | See Member Mark section | See codification tables - EE_DS1_File_naming_conventions.xlsx, EE_DS2_File_naming_conventions.xlsx, EE_DS_File_naming_conventions.xlsx. Functional classification (Example FL-FS-WTRS-00).
RBR-Object_IDparent | Text |  | Cast Unit or Assembly Object ID | See codification tables - RBEE-RBE-MAN-BIM-00005 (Codification & Data Management)
RBR-Object_ID | Text |  | See Member Mark section | See codification tables - BIM_ObjectID_TypeNr_Building.xlsx; BIM_ObjectID_TypeNr_Infra.xlsx
RBR-LocalObject_ID | Text |  | Local (final) owner element code (number/name)
RBR-Contract_number | Text |  | Contract number
Common Asset Data
RBR-Design_life | Text |  | See Member Mark section | See codification tables
Time linear
RBR-Phase_Created | Text |  | Phase where the element is created | Phase mark (for example Station_E1)
RBR-Phase_Demolished | Text |  | Phase where the element is demolished | Only for demolition elements
Quantities and Cost Estimation
RBR-Material_Designation | Text |  | Reference to the European Standard (EN, Eurocodes…)
RBR-Material_Description | Text |  | Material strength class and description | For example - B500A_ReinforcementSteel; C30/37_Concrete - see RBEE-RBE-MAN-BIM-00005 (Codification & Data Management)
RBR-Product_Name | Text |  | Name of the product | Name of the layer; for ex. SMA 16, AC 20 SURF etc
RBR-Product_Description | Text |  | Product description | Other parameters of the layer not reflected in the name
RBR-Pr_Code | Text |  | Uniclass 2015 Product table | RBR-DAT-BIM-BMA-0004_CodificationTables.xlsx - RP_CODE(Uniclass 2015) (Example Pr_15_31_04_10)
RBR-Type_number | Text |  | For unique type identification | To distinguish different types with identical "Uniclass Pr codes". Also used for manhole cover types.
RBR-NominalVoltage | Number | kV | Nominal Voltage
RBR-Insulation | Text |  | Pipe insulation type
RBR-Insulation_thickness | Number | mm | Pipe insulation thickness
RBR-Size | Number | mm | Pipe Size
RBR-SystemName | Text |  | Name of the system | For MEP systems
RBR-SystemClass | Text |  | System Classification code Uniclass 2015 | As defined in UniClass 2015 tables (SS table) for MEP systems
RBR-Units | Text |  | Measurement units | Indicates the measure units of the element (for cost list)
RBR-Quantity | Number |  | Amount according to units (RBR-Units)
RBR-Volume | Number | m3 | Element volume
RBR-Profile | Number | mm | Element profile
RBR-Diameter | Number | mm | Element section diameter
RBR-PayItem | Number |  | According to Contract Bill of Quantity Pay article number | Only for construction or design-build contract; "N/A" in case of existing and perspective objects
RBR-PayItem_name | Text |  | According to Contract Bill of Quantity Pay article name | Only for construction or design-build contract; "N/A" in case of existing and perspective objects
RBR-PayItem_unit | Text |  | According to Contract Bill of Quantity Pay article unit | Only for construction or design-build contract; "N/A" in case of existing and perspective objects
RBR-PayItem_quantity | Number |  | According to Contract Bill of Quantity, Pay article quantity | Only for construction or design-build contract; "N/A" in case of existing and perspective objects
LOD
RBR-LoG | Integer |  | See Level of Definition Section | This attribute indicate the level of Reliability of the element from the LoG side.
RBR-LoI | Integer |  | See Level of Definition Section | This attribute indicate the level of Reliability of the element from the LoI side.
Location Asset Data
RBR-Route_code | Text |  | Estonian road department (Transpordiamet /TA) road code
Specification
RBR-OCC | Text |  | Object Category Code | See codification tables
Other
RBR-Local_Code | Text |  | Discipline code according to local legislation | See Codification and Data Management Document and tables
RBR-Project_Stage | Text |  | Abbreviation of the project Stage | See Codification and Data Management Document and tables
Operation / Facility management
RBR-Manufacturer_Name | Text |  | Element / Surface manufacturer, factory or quarry (= COBie tabelis Manufacturer)
RBR-SerialNumber | Text |  | Element serial number
RBR-ModelReference | Text |  | Model reference. Surface product or element specific model. (= COBie tabelis ModelNumber)
RBR-Manufacturer_Sheet | Text |  | Element or surface installation guide | File name is according to file naming conventions
RBR-Delivery_Note | URL |  | Delivery notes for specific elements
RBR-Installation_date | Date |  | Element or surface installed date (.= COBie tabelis InstallationDate)
RBR-AsBuiltLength | Number | m | Elements as built length
RBR-Comlot | Text |  | Commissioning Lot = interim report number (number structure according to RB instructions) | (Should be connected to the list of Comlot)
RBR-AsBuiltDoc | Text/URL |  | Element or surface is linked with folder locating element relevant as built drawings
RBR-Maintenance_Sheet | Text/URL |  | Element or surface is linked with folder locating use and maintenance guide
RBR-Maintenance_Frequency | Number | M | Element maintenance frequency in months
RBR-Warranty_Start | Date |  | Element warranty start date
RBR-Warranty_End | Date |  | Element warranty end date

## DR_Attribute
DR (Drainage)
Manhole / Sewer | Manhole / Sewer cover | Marker posts for manholes | Pipe | Culvert | Valves and Taps | Tanks, Channels, Chambers, Baisin | Sand Trap, Gratings | Oil and Water Separators | Flow regulator | Pumps | Hydrant | Reinforcement / Slope protection | Ditches as surface elements | Fill | Excavation | Attribute |  | LOI
Type | [17 empty] | 200 | 300 | 400 | 500
[16 empty] | Should be included | Member mark
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Section_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-SubSection_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Owner | o | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Originator | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Discipline_Code | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-VolSysZone | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Location | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Functional_classification | X | X | X | X
Should be used if assembly/cast unit | [16 empty] | RBR-Object_IDparent | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Object_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Contract_number | X | X | X | X
[16 empty] | Should be included | Common Asset Data
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Design_life | - | X | X | X
[16 empty] | Should be included | Time linear
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Created | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Demolished | - | X | X | X
[16 empty] | Should be included | Quantities and Cost Estimation
X | X | X | X | X | X | X | X | X | X | X |  | X |  | X | X |  | RBR-Material_Designation | - | X | X | X
X | X | X | X | X | X | X | X |  |  |  |  | X |  | X | X |  | RBR-Material_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Product_Name | - | o | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Product_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Pr_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Type_number | - | X | X | X
[10 empty] | X | [6 empty] | RBR-Pressure | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Units | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Quantity | - | X | X | X
[12 empty] | X | X |  |  |  | RBR-Area | - | X | X | X
X | X | X | X | X |  | X | X | X | X | [7 empty] | RBR-Size | - | X | X | X
X | X |  | X | X | X | X | X | X | X |  | X | [5 empty] | RBR-Diameter | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_name | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_unit | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_quantity | - | - | X* | X*
[16 empty] | Should be included | LOD
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoG | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoI | X | X | X | X
[16 empty] | Should be included | Location Asset Data
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Route_code | - | X | X | X
[16 empty] | Should be included | Specification
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-OCC | X | X | X | X
[16 empty] | Should be included | Other
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Local_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_Stage | - | X | X | X
[16 empty] | Should be included | Operation / Facility management
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X |  |  | RBR-Manufacturer_Name | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X |  |  | RBR-SerialNumber | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X |  |  | RBR-ModelReference | - | - | X** | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X |  |  | RBR-Manufacturer_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X |  |  | RBR-Delivery_Note | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Installation_date | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Comlot | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-AsBuiltDoc | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X |  |  | RBR-Maintenance_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X |  |  | RBR-Maintenance_Frequency | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X |  |  | RBR-Warranty_Start | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | X |  |  | RBR-Warranty_End | - | - | o | X**
[16 empty] | o | - Optional
[16 empty] | X* | - "N/A" in case of existing and perspective objects
[16 empty] | X** | - Required for elements that cross RB track and are located inside RB railway protection zone

## WE_Attribute
WE (Water supply and sewerage external)
Manhole / Sewer | Manhole / Sewer cover | Marker posts for manholes | Chamber | Pump | Oil and Water separator | Leakage detection sensor | Valves and Taps | Pipe | Fill | Excavation | Attribute |  | LOI
Type | [12 empty] | 200 | 300 | 400 | 500
[11 empty] | Should be included | Member mark
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Section_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-SubSection_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Owner | o | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Originator | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Discipline_Code | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-VolSysZone | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Location | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Functional_classification | X | X | X | X
Should be used if assembly/cast unit | [11 empty] | RBR-Object_IDparent | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Object_ID | X | X | X | X
X | X | X | X | X | X |  | X | X |  |  |  | RBR-LocalObject_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Contract_number | X | X | X | X
[11 empty] | Should be included | Common Asset Data
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Design_life | - | X | X | X
[11 empty] | Should be included | Time Linear
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Created | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Demolished | X | X | X | X
[11 empty] | Should be included | Quantities and Cost Estimation
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Designation | - | X | X | X
X | X | X | X |  |  |  | X | X | X | X |  | RBR-Material_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Name | - | o | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Pr_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Type_number | - | X | X | X
[6 empty] | X | [5 empty] | RBR-SystemClass | - | X | X | X
[6 empty] | X | [5 empty] | RBR-SystemName | - | X | X | X
|  |  |  | X | [7 empty] | RBR-Pressure | - | X | X | X
[8 empty] | X |  |  |  | RBR-Insulation | - | X | X | X
[8 empty] | X |  |  |  | RBR-Insulation_thickness | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Units | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Quantity | - | X | X | X
X | X | X | X |  | X |  | X | X |  |  |  | RBR-Size | - | X | X | X
X | X |  |  |  | X |  | X | X |  |  |  | RBR-Diameter | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_name | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_unit | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_quantity | - | - | X* | X*
[11 empty] | Should be included | LOD
X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoG | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoI | X | X | X | X
[11 empty] | Should be included | Specifications
X | X | X | X | X | X | X | X | X | X | X |  | RBR-OCC | X | X | X | X
[11 empty] | Should be included | Other
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Local_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_Stage | - | X | X | X
[11 empty] | Should be included | Operation / Facility management
X | X | X | X | X | X | X | X | X | X |  |  | RBR-Manufacturer_Name | - | - | - | X**
X | X | X | X | X | X | X | X | X | X |  |  | RBR-SerialNumber | - | - | - | X**
X | X | X | X | X | X | X | X | X | X |  |  | RBR-ModelReference | - | - | X** | X**
X | X | X | X | X | X | X | X | X | X |  |  | RBR-Manufacturer_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X |  |  | RBR-Delivery_Note | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Installation_date | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X |  | RBR-Comlot | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X |  | RBR-AsBuiltDoc | - | - | - | X**
X | X | X | X | X | X | X | X | X | X |  |  | RBR-Maintenance_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X |  |  | RBR-Maintenance_Frequency | - | - | o | X**
X | X | X | X | X | X | X | X | X | X |  |  | RBR-Warranty_Start | - | - | o | X**
X | X | X | X | X | X | X | X | X | X |  |  | RBR-Warranty_End | - | - | o | X**
[11 empty] | o | - Optional
[11 empty] | X* | - "N/A" in case of existing and perspective objects
[11 empty] | X** | - Required for elements that cross RB track and are located inside RB railway protection zone

## EG_Attribute
EG (Gas supply external network)
Manhole | Manhole cover | Marker posts for manholes | Pipe | Leakage detection sensor | Valves and Taps | Automatic, alarm, initiating and regulation devices | Cathodic Protection System elements | Gas pipe protection slab | Earthing System | Fill | Excavation | Attribute |  | LOI
Type | [13 empty] | 200 | 300 | 400 | 500
[12 empty] | Should be included | Member mark
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Section_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-SubSection_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Owner | o | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Originator | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Discipline_Code | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-VolSysZone | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Location | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Functional_classification | X | X | X | X
Should be used if assembly/cast unit | [12 empty] | RBR-Object_IDparent | X | X | X | X
X | X | X | X |  | X | X | X | X | X |  |  |  | RBR-LocalObject_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Object_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Contract_number | X | X | X | X
[12 empty] | Should be included | Common Asset Data
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Design_life | - | X | X | X
[12 empty] | Should be included | Time linear
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Created | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Demolished | - | X | X | X
[12 empty] | Should be included | Quantities and Cost Estimation
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Designation | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Name | - | o | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Pr_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Type_number | - | X | X | X
|  |  |  | X | [8 empty] | RBR-SystemClass | - | X | X | X
|  |  |  | X | [8 empty] | RBR-SystemName | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Units | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Quantity | - | X | X | X
X | X | X | X |  |  | X |  | X |  |  |  |  | RBR-Size | - | X | X | X
|  |  | X |  | X | [7 empty] | RBR-Diameter | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_name | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_unit | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_quantity | - | - | X* | X*
[12 empty] | Should be included | LOD
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoG | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoI | X | X | X | X
[12 empty] | Should be included | Specification
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-OCC | X | X | X | X
[12 empty] | Should be included | Other
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Local_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_Stage | - | X | X | X
[12 empty] | Should be included | Operation / Facility management
X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Manufacturer_Name | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-SerialNumber | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-ModelReference | - | - | X** | X**
X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Manufacturer_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Delivery_Note | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Installation_date | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Comlot | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-AsBuiltDoc | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Maintenance_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Maintenance_Frequency | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Warranty_Start | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Warranty_End | - | - | o | X**
[12 empty] | o | - Optional
[12 empty] | X* | - "N/A" in case of existing and perspective objects
[12 empty] | X** | - Required for elements that cross RB track and are located inside RB railway protection zone

## ED_Attribute
ED (Electricity/power Distribution)
Manhole | Manhole cover | Marker posts for manholes | Cable | Cable ducts | Pipe | Insulator | Luminer | Pole (incl. Foundation) | Earthing and bonding | Devices (e.g. Terminals, Substations) | Fill | Excavation | Attribute |  | LOI
Type | [14 empty] | 200 | 300 | 400 | 500
[13 empty] | Should be included | Member mark
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Section_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-SubSection_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Owner | o | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Originator | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Discipline_Code | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-VolSysZone | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Location | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Functional_classification | X | X | X | X
Should be used if assembly/cast unit | [13 empty] | RBR-Object_IDparent | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Object_ID | X | X | X | X
X | X | X | X | X | X |  |  | X | X | X |  |  |  | RBR-LocalObject_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Contract_number | X | X | X | X
[13 empty] | Should be included | Common Asset Data
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Design_life | - | X | X | X
[13 empty] | Should be included | Time linear
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Created | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Demolished | - | X | X | X
[13 empty] | Should be included | Quantities and Cost Estimation
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Designation | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Name | - | o | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Pr_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Type_number | - | X | X | X
|  |  | X | X |  |  |  |  | X | X |  |  |  | RBR-NominalVoltage | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Units | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Quantity | - | X | X | X
X | X | X | X | X | X |  |  | X | [5 empty] | RBR-Size | - | X | X | X
X | X |  | X | X | X |  |  | X | [5 empty] | RBR-Diameter | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_name | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_unit | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_quantity | - | - | X* | X*
[13 empty] | Should be included | LOD
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoG | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoI | X | X | X | X
[13 empty] | Should be included | Specification
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-OCC | X | X | X | X
[13 empty] | Should be included | Other
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Local_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_Stage | - | X | X | X
[13 empty] | Should be included | Operation / Facility management
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Manufacturer_Name | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-SerialNumber | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-ModelReference | - | - | X** | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Manufacturer_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Delivery_Note | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Installation_date | - | - | - | X**
|  |  | X | X | [9 empty] | RBR-AsBuiltLength | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Comlot | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-AsBuiltDoc | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Maintenance_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Maintenance_Frequency | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Warranty_Start | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Warranty_End | - | - | o | X**
[13 empty] | o | - Optional
[13 empty] | X* | - "N/A" in case of existing and perspective objects
[13 empty] | X** | - Required for elements that cross RB track and are located inside RB railway protection zone

## LV_Attribute
LV (Low voltage distribution equipment)
Manhole | Manhole cover | Marker posts for manholes | Cable | Cable ducts | Pipe | Insulator | Luminer | Devices (e.g. Terminals, Substations) | Pole (incl. Foundation) | Earthing and bonding | Fill | Excavation | Attribute |  | LOI
Type | [14 empty] | 200 | 300 | 400 | 500
[13 empty] | Should be included | Member mark
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Section_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-SubSection_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Owner | o | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Originator | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Discipline_Code | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-VolSysZone | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Location | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Functional_classification | X | X | X | X
Should be used if assembly/cast unit | [13 empty] | RBR-Object_IDparent | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Object_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  |  |  |  | RBR-LocalObject_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Contract_number | X | X | X | X
[13 empty] | Should be included | Common Asset Data
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Design_life | - | X | X | X
[13 empty] | Should be included | Time linear
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Created | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Demolished | - | X | X | X
[13 empty] | Should be included | Quantities and Cost Estimation
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Designation | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Name | - | o | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Pr_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Type_number | - | X | X | X
|  |  | X | X |  |  |  | X |  | X |  |  |  | RBR-NominalVoltage | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Units | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Quantity | - | X | X | X
X | X | X | X | X | X |  |  |  | X |  |  |  |  | RBR-Size | - | X | X | X
X | X |  | X | X | X |  |  |  | X |  |  |  |  | RBR-Diameter | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_name | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_unit | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_quantity | - | - | X* | X*
[13 empty] | Should be included | LOD
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoG | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoI | X | X | X | X
[13 empty] | Should be included | Specification
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-OCC | X | X | X | X
[13 empty] | Should be included | Other
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Local_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_Stage | - | X | X | X
[13 empty] | Should be included | Operation / Facility management
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Manufacturer_Name | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-SerialNumber | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-ModelReference | - | - | X** | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Manufacturer_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Delivery_Note | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Installation_date | - | - | - | X**
|  |  | X | X | [9 empty] | RBR-AsBuiltLength | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Comlot | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-AsBuiltDoc | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Maintenance_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Maintenance_Frequency | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Warranty_Start | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Warranty_End | - | - | o | X**
[13 empty] | o | - Optional
[13 empty] | X* | - "N/A" in case of existing and perspective objects
[13 empty] | X** | - Required for elements that cross RB track and are located inside RB railway protection zone

## HV_Attribute
HV (High voltage distribution equipment)
Manhole | Manhole cover | Cable | Overhead conductor | Fiber Optic Wire | Earthing and bonding | Lightning protection | Insulator | Cross arm | Junction box (cabinet) | Foundation | Tower | Concrete Pole | Fill | Excavation | Attribute |  | LOI
Type | [16 empty] | 200 | 300 | 400 | 500
[15 empty] | Should be included | Member mark
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Section_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-SubSection_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Owner | o | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Originator | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Discipline_Code | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-VolSysZone | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Location | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Functional_classification | X | X | X | X
Should be used if assembly/cast unit | [15 empty] | RBR-Object_IDparent | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Object_ID | X | X | X | X
X | X | X |  | X |  |  |  |  | X |  | X | X | X | X |  | RBR-LocalObject_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Contract_number | X | X | X | X
[15 empty] | Should be included | Common Asset Data
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Design_life | - | X | X | X
[15 empty] | Should be included | Time linear
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Created | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Demolished | - | X | X | X
[15 empty] | Should be included | Quantities and Cost Estimation
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Designation | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Name | - | o | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Pr_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Type_number | - | X | X | X
|  | X | X |  |  |  | X | [8 empty] | RBR-NominalVoltage | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Units | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Quantity | - | X | X | X
[10 empty] | X |  | X | X | X |  | RBR-Volume | - | X | X | X
[11 empty] | X | X |  |  |  | RBR-Profile | - | X | X | X
X | X | X | X | X | o | o | [9 empty] | RBR-Diameter | - | X | X | X
X | X | [14 empty] | RBR-Size | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_name | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_unit | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_quantity | - | - | X* | X*
[15 empty] | Should be included | LOD
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoG | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoI | X | X | X | X
[15 empty] | Should be included | Specification
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-OCC | X | X | X | X
[15 empty] | Should be included | Other
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Local_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_Stage | - | X | X | X
[15 empty] | Should be included | Operation / Facility management
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Manufacturer_Name | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-SerialNumber | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-ModelReference | - | - | X** | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Manufacturer_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Delivery_Note | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Installation_date | - | - | - | X**
|  | X | X | X | X | X | [9 empty] | RBR-AsBuiltLength | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Comlot | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-AsBuiltDoc | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Maintenance_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Maintenance_Frequency | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Warranty_Start | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | RBR-Warranty_End | - | - | o | X**
[15 empty] | o | - Optional
[15 empty] | X* | - "N/A" in case of existing and perspective objects
[15 empty] | X** | - Required for elements that cross RB track and are located inside RB railway protection zone

## RO_Attribute
RO (Road)
Planting | Culvert | Road furniture | Traffic Signals | ITS Devices and other devices | Road signage | Kerbs and drains | Reinforcement / Slope protection | Corridor Fencing, Barrier, Noise Wall | Crossing (for railway) | Fill | Excavation | Geotextile/ Geogrid | Road Pavements | Attribute |  | LOI
Type | [15 empty] | 200 | 300 | 400 | 500
[14 empty] | Should be included | Member mark
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Section_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-SubSection_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Owner | o | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Originator | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Discipline_Code | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-VolSysZone | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Location | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Functional_classification | X | X | X | X
Should be used if assembly/cast unit | [14 empty] | RBR-Object_IDparent | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Object_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Contract_number | X | X | X | X
[14 empty] | Should be included | Common Asset Data
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Design_life | - | X | X | X
[14 empty] | Should be included | Time linear
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Created | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Demolished | - | X | X | X
[14 empty] | Should be included | Quantities and Cost Estimation
| X | X |  |  | X | X | X | X | X | X | X | X | X |  | RBR-Material_Designation | - | X | X | X
| X | X |  |  | X | X | X | X | X | X | X | X | X |  | RBR-Material_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Name | - | o | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Pr_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Type_number | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Units | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Quantity | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_name | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_unit | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_quantity | - | - | X* | X*
[14 empty] | Should be included | LOD
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoG | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoI | X | X | X | X
[14 empty] | Should be included | Location Asset Data
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Route_code | - | X | X | X
[14 empty] | Should be included | Specification
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-OCC | X | X | X | X
[14 empty] | Should be included | Other
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Local_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_Stage | - | X | X | X
[14 empty] | Should be included | Operation / Facility management
X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Manufacturer_Name | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-SerialNumber | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-ModelReference | - | - | X** | X**
X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Manufacturer_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Delivery_Note | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Installation_date | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Comlot | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-AsBuiltDoc | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Maintenance_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X | X |  | X | X |  | RBR-Maintenance_Frequency | - | - | o | X**
[14 empty] | o | - Optional
[14 empty] | X* | - "N/A" in case of existing and perspective objects
[14 empty] | X** | - Required for elements that cross RB track and are located inside RB railway protection zone

## TR_Attribute
TR (Track/Railway)
Planting | Culvert | Railway Furniture | Excavation/ Cutting | Crossover, turnout | Railway Signals | ITS Devices and other devices | Railway signage | Kerbs and drains | Corridor Fencing, Barrier, Noise Wall | Animal escape ramp | Railway embankment (Ballast and Fill) | Geotextile/ Geogrid | Sleepers | Rails | Attribute |  | LOI
Type | [16 empty] | 200 | 300 | 400 | 500
[15 empty] | Should be included | Member mark
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Section_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-SubSection_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Owner | o | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Originator | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Discipline_Code | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-VolSysZone | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Location | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Functional_classification | X | X | X | X
Should be used if assembly/cast unit | [15 empty] | RBR-Object_IDparent | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Object_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Contract_number | X | X | X | X
[15 empty] | Should be included | Common Asset Data
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Design_life | - | X | X | X
[15 empty] | Should be included | Time linear
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Created | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Demolished | - | X | X | -
[15 empty] | Should be included | Quantities and Cost Estimation
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Designation | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Name | - | o | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Pr_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Type_number | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Units | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Quantity | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_name | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_unit | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_quantity | - | - | X* | X*
[15 empty] | Should be included | LOD
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoG | X | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-LoI | X | X | X | X
[15 empty] | Should be included | Specification
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-OCC | X | X | X | X
[15 empty] | Should be included | Other
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Local_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Project_Stage | - | X | X | X
[15 empty] | Should be included | Operation / Facility management
X | X | X |  | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Manufacturer_Name | - | - | - | X**
X | X | X |  | X | X | X | X | X | X | X | X | X | X | X |  | RBR-SerialNumber | - | - | - | X**
X | X | X |  | X | X | X | X | X | X | X | X | X | X | X |  | RBR-ModelReference | - | - | X** | X**
X | X | X |  | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Manufacturer_Sheet | - | - | o | X**
X | X | X |  | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Delivery_Note | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Installation_date | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Comlot | - | - | - | X**
X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |  | RBR-AsBuiltDoc | - | - | - | X**
X | X | X |  | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Maintenance_Sheet | - | - | o | X**
X | X | X |  | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Maintenance_Frequency | - | - | o | X**
X | X | X |  | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Warranty_Start | - | - | o | X**
X | X | X |  | X | X | X | X | X | X | X | X | X | X | X |  | RBR-Warranty_End | - | - | o | X**
[15 empty] | o | - Optional
[15 empty] | X* | - "N/A" in case of existing and perspective objects
[15 empty] | X** | - Required for elements that cross RB track and are located inside RB railway protection zone

## UD_Attribute
UD (Urban design/Landscaping)
Exterior furniture | Planting, planting areas | Pond | Lick Stone | Horn scratching post, posts | Stone | Terrain, Road surface, Curb | Barriers, Pollar | Traffic signs | Stair | Attribute |  | LOI
Type | [11 empty] | 200 | 300 | 400 | 500
[10 empty] | Should be included | Member mark
X | X | X | X | X | X | X | X | X | X |  | RBR-Project_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Section_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-SubSection_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Owner | o | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Originator | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Discipline_Code | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-VolSysZone | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Location | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Functional_classification | X | X | X | X
Should be used if assembly/cast unit | [10 empty] | RBR-Object_IDparent | - | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Object_ID | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Contract_number | X | X | X | X
[10 empty] | Should be included | Time Linear
X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Created | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Phase_Demolished | X | X | X | X
[10 empty] | Should be included | LOD
X | X | X | X | X | X | X | X | X | X |  | RBR-LoG | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-LoI | X | X | X | X
[10 empty] | Should be included | Quantities and Cost Estimation
X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Name | - | o | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Product_Description | - | - | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Pr_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Type_number | - | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Units | X | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Designation | - | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Material_Description | - | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Quantity | - | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_name | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_unit | - | - | X* | X*
X | X | X | X | X | X | X | X | X | X |  | RBR-PayItem_quantity | - | - | X* | X*
[10 empty] | Should be included | Specifications
X | X | X | X | X | X | X | X | X | X |  | RBR-OCC | X | X | X | X
[10 empty] | Should be included | Other
X | X | X | X | X | X | X | X | X | X |  | RBR-Local_Code | - | X | X | X
X | X | X | X | X | X | X | X | X | X |  | RBR-Project_Stage | - | X | X | X
[10 empty] | Should be included | Operation / Facility management
X | X |  |  |  |  | X | X | X | X |  | RBR-SerialNumber | - | - | - | X**
X | X |  |  |  |  | X | X | X | X |  | RBR-ModelReference | - | - | - | X**
X | X | X | X | X | X | X | X | X | X |  | RBR-Manufacturer_Name | - | - | X** | X**
X |  | X | X | X | X | X | X | X | X |  | RBR-Manufacturer_Sheet | - | - | o | X**
X | [5 empty] | X | X | X | X |  | RBR-Delivery_Note | - | - | - | X**
X | X | X | X | X | X | X | X | X | X |  | RBR-Installation_date | - | - | - | X**
X | X | X | X | X | X | X | X | X | X |  | RBR-Comlot | - | - | - | X**
X | X | X | X | X | X | X | X | X | X |  | RBR-AsBuiltDoc | - | - | - | X**
X | X | X | X | X | X | X | X | X | X |  | RBR-Maintenance_Sheet | - | - | o | X**
X | X | X | X | X | X | X | X | X | X |  | RBR-Maintenance_Frequency | - | - | o | X**
X |  | X | X | X | X | X | X | X | X |  | RBR-Warranty_Start | - | - | o | X**
X |  | X | X | X | X | X | X | X | X |  | RBR-Warranty_End | - | - | o | X**
[10 empty] | o | - Optional
[10 empty] | X* | - "N/A" in case of existing and perspective objects
[10 empty] | X** | - Required for elements that cross RB track and are located inside RB railway protection zone

## STR_Attribute
STR (Structural)
Stair and ramp | Landing | Ladder | Hydroisolation | Fence, Barrier, Noise Wall, Snownets | Fill | Excavation | Attribute |  | LOI
[9 empty] | 200 | 300 | 400 | 500
[7 empty] | Should be included | Member mark
X | X | X | X | X | X | X |  | RBR-Project_ID | X | X | X | X
X | X | X | X | X | X | X |  | RBR-Section_ID | X | X | X | X
X | X | X | X | X | X | X |  | RBR-SubSection_ID | X | X | X | X
X | X | X | X | X | X | X |  | RBR-Owner | o | X | X | X
X | X | X | X | X | X | X |  | RBR-Originator | X | X | X | X
X | X | X | X | X | X | X |  | RBR-Discipline_Code | X | X | X | X
X | X | X | X | X | X | X |  | RBR-VolSysZone | X | X | X | X
X | X | X | X | X | X | X |  | RBR-Location | X | X | X | X
X | X | X | X | X | X | X |  | RBR-Functional_classification | X | X | X | X
Should be used if assembly/cast unit | [7 empty] | RBR-Object_IDparent | - | X* | X | X
X | X | X | X | X | X | X |  | RBR-Object_ID | X* | X* | X | X
X | X | X | X | X | X | X |  | RBR-Contract_number | X | X | X | X
[7 empty] | Should be included | Common Asset Data
X | X | X | X | X | X | X |  | RBR-Design_life | - | X | X | X
[7 empty] | Should be included | Time Linear
X | X | X | X | X | X | X |  | RBR-Phase_Created | X | X | X | X
X | X | X | X | X | X | X |  | RBR-Phase_Demolished | X | X | X | X
[7 empty] | Should be included | Quantities and Cost Estimation
X | X | X | X | X | X | X |  | RBR-Material_Designation | - | X | X | X
X | X | X | X | X | X | X |  | RBR-Material_Description | X | X | X | X
X | X | X | X | X | X | X |  | RBR-Product_Name | - | o | X | X
X | X | X | X | X | X | X |  | RBR-Product_Description | X | X | X | X
X | X | X | X | X | X | X |  | RBR-Pr_Code | - | X | X | X
X | X | X | X | X | X | X |  | RBR-Type_number | - | X | X | X
X | X | X |  | X |  |  |  | RBR-Strength_class | - | X | X | X
X | X | X | X | X |  |  |  | RBR-Environment_class | - | X | X | X
X | X | X | X |  | X | X |  | RBR-Units | X | X | X | X
X | X | X | X | X | X | X |  | RBR-Quantity | - | X | X | X
X | X | X | X | X | X | X |  | RBR-PayItem | - | - | X* | X*
X | X | X | X | X | X | X |  | RBR-PayItem_name | - | - | X* | X*
X | X | X | X | X | X | X |  | RBR-PayItem_unit | - | - | X* | X*
X | X | X | X | X | X | X |  | RBR-PayItem_quantity | - | - | X* | X*
[7 empty] | Should be included | LOD
X | X | X | X | X | X | X |  | RBR-LoG | X | X | X | X
X | X | X | X | X | X | X |  | RBR-LoI | X | X | X | X
[7 empty] | Should be included | Location Asset Data
X | X | X | X | X | X | X |  | RBR-Route_code | - | X | X | X
[7 empty] | Should be included | Specifications
X | X | X | X | X | X | X |  | RBR-OCC | X | X | X | X
[7 empty] | Should be included | Other
X | X | X | X | X | X | X |  | RBR-Local_Code | - | X | X | X
X | X | X | X | X | X | X |  | RBR-Project_Stage | - | X | X | X
[7 empty] | Should be included | Operation / Facility management
X | X | X | X | X | X |  |  | RBR-Manufacturer_Name | - | - | - | X**
X | X | X | X | X | X |  |  | RBR-SerialNumber | - | - | - | X**
X | X | X | X | X | X |  |  | RBR-ModelReference | - | - | X** | X**
X | X | X | X | X | X |  |  | RBR-Manufacturer_Sheet | - | - | o | X**
X | X | X | X | X | X |  |  | RBR-Delivery_Note | - | - | - | X**
X | X | X | X | X | X | X |  | RBR-Installation_date | - | - | - | X**
X | X | X | X | X | X | X |  | RBR-Comlot | - | - | - | X**
X | X | X | X | X | X | X |  | RBR-AsBuiltDoc | - | - | - | X**
X | X | X | X | X | X |  |  | RBR-Maintenance_Sheet | - | - | o | X**
X | X | X | X | X | X |  |  | RBR-Maintenance_Frequency | - | - | o | X**
X | X | X | X | X | X |  |  | RBR-Warranty_Start | - | - | o | X**
X | X | X | X | X | X |  |  | RBR-Warranty_End | - | - | o | X**
[7 empty] | o | - Optional
[7 empty] | X* | - "N/A" in case of existing and perspective objects
[7 empty] | X** | - Required for elements that cross RB track and are located inside RB railway protection zone